SECTION 06 01 20.92 / GUIDE SPECIFICATION FOR

Egis Floorlife™ Performance Program (Bronze)

# Part 1-GENERAL

- 1.01 DESCRIPTION

  - This program is for previously installed maple hardwood flooring systems.  The floor and facility must be inspected and approved by Egis Floorlife LLC prior to acceptance into this program.

- 1.02 QUALITY ASSURANCE

  - Program Provider

    - Program provider will demonstrate sufficient financial resources to provide program deliverables

  - Manufacturer Qualifications

    - Floor finish system manufacturer will be BonaKemi, Inc.

    - Floor maintenance system manufacturer will be BonaKemi, Inc.

  - Service Provider Qualifications

    - Service provider will be an Authorized Dealer of Egis Floorlife LLC.

- 1.03 SUBMITTALS

  - Manufacturer's Product Data

    - Submit BonaKemi finish specification sheet

    - Submit BonaKemi seal specification sheet

    - Submit BonaKemi game line paint specification sheet

    - Submit BonaKemi maintenance product specification sheet

  - Maintenance Literature

    - Submit copy of Egis Floorlife Maintenance Instructions.

  - Certification

    - Flooring contractor certification by Egis Floorlife LLC in facility and floor inspection.

    - Flooring contractor certification by Egis Floorlife LLC in flooring system installation.

    - Flooring contractor certification by Egis Floorlife LLC in flooring finishing.

    - Flooring contractor certification by Egis Floorlife LLC in flooring maintenance and training.

    - Flooring contractor certification by Egis Floorlife LLC in flooring recoating.

    - Flooring contractor certification by Egis Floorlife LLC in flooring sanding and refinishing.

1.04 DELIVERY, STORAGE AND HANDLING

  - Delivery of Materials

    - Annual supply of floor cleaning products will be delivered to the facility.

    - Materials will be stored in accordance with printed storage instructions.

- 1.05 FACILITY OWNER RESPONSIBILITIES

  - Maintain the floor according to Egis maintenance instructions.

  - Maintain temperature and a relative humidity as prescribed by the flooring system instructions.

  - Protect the floor by covering with Egis-supplied floor covering.

  - Protect the floor from high point loads per the instructions in Robbins Inc. Technical Statement, Weight Loads on Maple Sports Floors.

- 1.06 GUARANTEE

  - The Egis Floorlife Performance Program extends the BonaKemi warranty for each year the owner engages in the Program.

Part 2-PROGRAM

- 2.01 MATERIALS

  - Maintenance Products

    - BonaKemi Pacific Sport Cleaner

  - Finishing Materials

    - Bona PREP™ for recoating

    - Finishes (select):

      - BonaKemi SuperSport water-based finish

      - BonaKemi Sport Poly 350 oil-modified urethane finish

      - BonaKemi Sport Poly oil-modified urethane finish

      - BonaKemi All Court oil-modified urethane finish

- 2.02 SERVICES

  - Job-site inspection

    - Ensure proper conditions are met and maintained throughout the installation project

  - Maintenance training

    - Provide complete training to facility staff on use of the cleaning materials supplied

  - Periodic inspections

    - The Egis authorized dealer will visit the facility three times during the year of the agreement

    - The Egis authorized dealer will inspect to ensure proper maintenance is being performed

      - Materials

      - Processes

    - The Egis authorized dealer will inspect for other conditions that may adversely affect the sports floor

    - The Egis authorized dealer will provide the facility owner with a record of the inspection

  - Recoating

    - Refinish the floor per the prescribed methods of BonaKemi Inc.

  - Repairs

    - Provide materials and labor for one-hour of repair, inclusive to the price of the agreement.

0511114gpc