SECTION 06 01 20.92 / GUIDE SPECIFICATION FOR

Egis™ Floorlife Performance Program (Silver)

# Part 1-GENERAL

- 1.01 DESCRIPTION

  - This program is for previously installed maple hardwood flooring systems.  The floor and facility must be inspected and approved by Egis Floorlife LLC prior to acceptance into this program.  The floor must be sanded to bare wood and refinished to begin the program.

- 1.02 QUALITY ASSURANCE

  - Program Provider

    - Program provider will demonstrate sufficient financial resources to provide program deliverables

  - Manufacturer Qualifications

    - Floor finish system manufacturer will be BonaKemi, Inc.

    - Floor maintenance system manufacturer will be BonaKemi, Inc.

  - Service Provider Qualifications

    - Service provider will be an Authorized Dealer of Egis Floorlife LLC.

- 1.03 SUBMITTALS

  - Manufacturer's Product Data

    - Submit BonaKemi finish specification sheet

    - Submit BonaKemi seal specification sheet

    - Submit BonaKemi game line paint specification sheet

    - Submit BonaKemi maintenance product specification sheet

  - Maintenance Literature

    - Submit copy of Egis Floorlife Maintenance Instructions.

  - Certification

    - Flooring contractor certification by Egis Floorlife LLC in facility and floor inspection.

    - Flooring contractor certification by Egis Floorlife LLC in flooring system installation.

    - Flooring contractor certification by Egis Floorlife LLC in flooring finishing.

    - Flooring contractor certification by Egis Floorlife LLC in flooring maintenance and training.

    - Flooring contractor certification by Egis Floorlife LLC in flooring recoating.

    - Flooring contractor certification by Egis Floorlife LLC in flooring sanding and refinishing.

1.04 DELIVERY, STORAGE AND HANDLING

  - Delivery of Materials

    - Annual supply of floor cleaning products will be delivered to the facility.

    - Materials will be stored in accordance with printed storage instructions.

- 1.05 FACILITY OWNER RESPONSIBILITIES

  - Maintain the floor according to Egis maintenance instructions.

  - Maintain temperature and a relative humidity as prescribed by the flooring system instructions.

  - Protect the floor by covering with Egis-supplied floor covering.

  - Protect the floor from high point loads per the instructions in Robbins Inc. Technical Statement, Weight Loads on Maple Sports Floors.

- 1.06 GUARANTEE

  - The Egis Floorlife Performance Program extends the BonaKemi warranty for each year the owner engages in the Program.

  - The Egis Floorlife Performance Program guarantees the floor will maintain proper appearance and frictional properties.

Part 2-PROGRAM

- 2.01 MATERIALS

  - Maintenance Products

    - BonaKemi Pacific Sport Cleaner

  - Finishing Materials

    - Bona PREP™ for recoating

    - Finishes (select):

      - BonaKemi SuperSport water-based finish

      - BonaKemi Sport Poly 350 oil-modified urethane finish

      - BonaKemi Sport Poly oil-modified urethane finish

      - BonaKemi All Court oil-modified urethane finish

    - Seals (select):

      - BonaKemi SuperSport water-based seal

      - BonaKemi Sport Poly 350 oil-modified urethane seal

      - BonaKemi Sport Poly oil-modified urethane seal

      - BonaKemi Dri-Fast oil-modified urethane seal

    - Game line paints

      - BonaKemi Courtline paints

- 2.02 SERVICES

  - Job-site inspection and record keeping

    - Ensure proper conditions are met and maintained throughout the installation project

    - Provide detailed record of conditions throughout the installation process.

  - Maintenance training

    - Provide complete training to facility staff on use of the cleaning materials supplied

  - Periodic inspections

    - The Egis authorized dealer will visit the facility three times during the year of the agreement

    - The Egis authorized dealer will inspect to ensure proper maintenance is being performed

      - Materials

      - Processes

    - The Egis authorized dealer will inspect for other conditions that may adversely affect the sports floor

    - The Egis authorized dealer will provide the facility owner with a record of the inspection

  - Annual recoating

    - Sand and Refinish the floor per the prescribed methods of BonaKemi Inc.

    - Recoat the floor on the date previously scheduled by the facility owner (Renewals 1-9) per the prescribed methods of BonaKemi Inc.

    - Sand and Refinish the floor on the date previously scheduled by the facility owner (Renewal 10) per the prescribed methods of BonaKemi Inc.

  - Repairs

    - Provide materials and labor for one-hour of repair, inclusive to the price of the agreement.

0511114gpc